Comments on Drawings Issued April 10, 2008

Drawing List (per City of Orinda Design Review Application)

- Vicinity Map (include neighborhood data table)

- Site Plan (1"= 20') (This possibly can include roof plan, and should include project data table)

- Conceptual Grading Plan  (1"= 20') (can be included in site plan if minor, and can also include drainage plan)

- Roof Plan  (1"= 20') (can be superimposed over grading plan – Note: this seems odd)

- Landscape Plan (1"= 20')  (For smaller projects OK to add to site plan)

- Floor Plans – two req'd (1/4" = 1'-0")

- Building Elevations – two req'd (1/4" = 1'-0")

- Building Cross Sections – three req'd (1/4" = 1'-0")

- Full E/W Property Cross Section – one req'd (1/8" = 1'-0")

Dwg I – Vicinity Map

- Index Dwg # 9  - Scale 1" = ¼"

Dwg A1r – Site Plan with Roof Plan

- Shouldn't main corrugated drain pipe be routed so as not to conflict with house? (Leave as is)

- Must roof pitch over closet and at west face of house be flatter than typical (Will use 4.8 : 12)

- Why does fence jog between the driveway and the garage? (This has been corrected)

- Parcel Net Area shown incorrectly.  The 16117 SF is inside the right-of-way line.

Dwg G1 – Grading Plan

- Cuts as shown total 159 yds. (OK)

- Easement note (the one above the north arrow). Delete. (Leave as is)

Dwg L1 – Landscape Plan

- No comments.

Dwg A2u – Upper Floor Plan

- Correct color pattern shown for stairway at NW corner. (Done)

Dwg A2g – Ground Floor Plan

- Correct color pattern shown for stairways at both N and S sides of house. (Done)

Dwg A3.1 – N and W Elevations

- Make dimensions readable. (Done)

Dwg A3.2 – E and S Elevations

- Height in east elev. should be 34'. (Done)

Dwg A4.1 – Section A-A   (1/4" = 1'-0")

- Why is base of foundation at +82 rather than +83?  (Because of grade change)

Dwg A4.2 – Section B-B  (1/8" = 1'-0")

- No Comment

Dwg A4.3 – Section C-C  (1/4" = 1'-0")

- No comment.

Dwg A4.4 – Section D-D  (1/4" = 1'-0")

- No comment

Response in blue.