Comments on Drawings Issued June 30, 2008

These drawings were submitted to the City of Orinda on or about July 10.

Dwg A0 – Vicinity Map

- Drawing titles for Dwgs A3.1 and A3.2 are incorrect.

Dwg A1.r – Site Plan

- The columns on the east side of the house should be revised to match the plans

- The corrugated drain pipe should be drawn darker.  It is almost illegible.

Dwg G1 – Grading Plan

- The columns on the east side of the house should be revised to match the plans

Dwg A2.u – Upper Floor Plan (1/4" = 1'-0")

- Greenhouse windows are inconsistent with the elevations

- North window in master bedroom is inconsistent with the elevations.  The elevation incorrectly shows a door.

Dwg A2.g – Ground Floor Plan (1/4" = 1'-0")

- Are the columns no longer going to be heavy walled?

- Window in bath of north bedroom may have to be larger.  It was supposed to have been shown as 4 x 6.

Dwg A3.1 – Elevations – West and North (1/4" = 1'-0")

- Door at north elevation should be a window to match the plan.  A "patch" has been added to every copy of the drawing, but the original file should be updated.

Dwg A4.1 – Section A-A (1/4" = 1'-0")

- The dinning room window has a sill height of 4'-6".  May want to consider lowering it.