Comments on Drawings Issued March 8, 2008

Drawing List (per City of Orinda Design Review Application)

- Vicinity Map (include neighborhood data table)

- Site Plan (1"= 20') (This possibly can include roof plan, and should include project data table)

- Conceptual Grading Plan  (1"= 20') (can be included in site plan if minor, and can also include drainage plan)

- Roof Plan  (1"= 20') (can be superimposed over grading plan)

- Landscape Plan (1"= 20')  (OK to add notes to site plan if possible)

- Floor Plans – two req'd (1/4" = 1'-0")

- Building Elevations – two req'd (1/4" = 1'-0")

- Building Cross Sections – three req'd (1/4" = 1'-0")

- Full E/W Property Cross Section – one req'd (1/16" = 1'-0")

General Comments

- Reduce house dimensions such that floor area is within max limits … or make not to scale

- North arrows on all plans

- Graphic scales on all drawings

- Show legends where applicable

- Cross sections to be ¼" = 1'-0"

- My interpretation of City requirements is that an additional 1/16 scale cross section is required to show the entire property and roads.

Dwg I - Index

- Should be titled Vicinity Map

- Set the order of plan drawings to r-g-u

- Proximity Map

- Vacant lot on La Espiral is No. 60

- Vacant lot at No. 9 Dos Posos is under construction

- See updated file

- Property data table

- Add averages and 34 La Vuelta data (see updated file)

Dwg A1r – Site Plan, Roof

- Label property line, house setback, garage setback, and right-of-way

- Property lines, rights of way are supposed to be dimensioned with metes and bounds.

- Show the side and back setback lines.

- Show creek set back.  Remove the dotted creek setback lines as currently shown.

- Show drainage features.

- Provide Data Table with:

- Floor area calcs and FAR

- Parcel net area

- Itemized calculation of impervious surfaces and square footage.

- Show parking.

- Show fences.

- Note average slope of site

- Clean up the dimensions.

- Do we need so many, e.g. the 25' setback dim.

- Do we need the dimensions from the various corners to the property lines

- Correct 2'-3 7/8" dimension to existing carport at south of property.

- What is the dotted line on the 90' contour south of the house?

- Delete ridge skylights at master bath, kitchen, and garage.

- Show LR ridge skylight at correct length.

- Show roof pitches

Dwg A1u – Site Plan, Upper Floor

- This drawing probably not needed (info included on site plan).  If so then:

- Label property line, house setback, garage setback, and right-of-way

- Show the side and back setback lines.

- Show creek set back.  Remove the dotted creek setback lines as currently shown.

- Clean up the dimensions.

- Do we need so many, e.g. the 25' setback dim.

- Do we need the dimensions from the various corners to the property lines

- Correct 2'-3 7/8" dimension to existing carport at south of property.

- What is the dotted line on the 90' contour south of the house?

- Delete ridge skylights at master bath, kitchen, and garage.

- Show LR ridge skylight at correct length.

- Show guest bath as living area.

- Show trash as low headroom area.

- Update square footage

Dwg A1g – Site Plan, Ground Floor

- This drawing probably not needed (info included on site plan).  If so then:

- Label property line, house setback, garage setback, and right-of-way

- Show the side and back setback lines.

- Show creek set back.  Remove legend for creek setback lines.

- Clean up the dimensions.

- Do we need so many, e.g. the 25' setback dim.

- Do we need the dimensions from the various corners to the property lines

- What is the dotted line on the 90' contour south of the house?

- Delete ridge skylights at master bath, kitchen, and garage.

- Show LR ridge skylight at correct length.

- Indicate SF of floor area.

Dwg A2r – Roof Plan

- This drawing probably not needed (info included on site plan or 1" = 20' roof plan).  If so then:

- Are contour lines needed?

- Show grid lines

- Clarify and clean up dimension lines.

- Delete skylights in master bath, kitchen, and garage.

- Fix length of main skylight

Dwg A2u – Upper Floor Plan

- Are contour lines needed?

- Show grid lines

- Clarify and clean up dimension lines.

- FAR should not include trash, dumbwaiter, nor the entry to the kitchen below 7'-0"

- Dimensions to be adjusted so that square footage is well within FAR, i.e. less than 3,300 SF if possible, and not to exceed 3,328 SF.

- Extend pool to column

- Reduce size of garage

- Layout comments not considered relevant to design review application and will come later

Dwg A2g – Ground Floor Plan

- Are contour lines needed?

- Show grid lines

- Clarify and clean up dimension lines.

- FAR should not dumbwaiter

- Dimensions to be adjusted so that square footage is well within FAR, i.e. less than 3,300 SF if possible, and not to exceed 3,328 SF.

- Extend pool to column

- Reduce size of garage

- Continue north stairway around and down to deck at +87

- Layout comments not considered relevant to design review application and will come later

Dwg A3.1 – N and W Elevations

- Show aggregate height

- Show perpendicular height

- Show cross section cuts

- Indicate fencing

Dwg A3.2 – E and W Elevations

- Show perpendicular height

- Show cross section cuts

- Indicate fencing

Dwg A4.1 – Section A-A

- Required ¼" = 1'-0"

- Show legends

- Show graphical scale

Dwg A4.2 – Section B-B

- This dwg would be suitable of 1/16 scale drawing

- Show legends

- Show graphical scale

Dwg A4.3 – Section C-C

- Required ¼" = 1'-0"

- Show legends

- Show graphical scale