Results of Clarification with Alan – 4/30/2008

Project Site

- Address sign to be installed.  Did not discuss.

- Trees have been tagged.  Alan wants all trees that will be effected by construction flagged with ribbon or paint

- Story poles may not be possible.  Alan realizes that the trees may be a problem but says to do what I can, i.e. even installing just the corner poles will be beneficial to the planning commission.

Plans

- Lighter weight paper will be used for next submittal.  Alan suggests bringing in one copy first to confirm completion of application.  Then eight copies will be required

- What is the corrected creek setback?  Alan says to make it conform more nearly to the creek centerline up to the "headwaters" where it can then curve around at some reasonable radius.

Vicinity Map

- City Boundary layer will be turned off when printing aerial map. Did not discuss

- No. of stories of adjacent properties is shown. Isn't this adequate?  Square footage will be acquired from county.  Alan says that contrary to the instructions given in the design review application the number of stories should be shown on the data table.  This is so the commission will not be confused.

- Adjusted floor areas and FARs will be recalculated.  Confirmed.

Site Plans

- What is the corrected creek setback?  See above in Plans.

- Aren't the dimensions to the ROW?  Alan thought that there was confusion here.  Try to clarify.

- If fence is not on ROW, then it becomes useless for creating privacy.  Show a 4 ft fence.

- Can retaining walls be noted?  I think he thought the driveway required large retaining walls.  Try to show the 3 ft wall below the driveway and the small wall at the SE corner of the patio.

- Can grading plan be referenced for contours?  The comment was intended to apply to the driveway.  If the driveway is on a framework, this is not applicable.  Delete reference to permeable pavers because this implies a filled driveway with retaining wall.

Grading Plans

- What is the corrected creek setback?  See above in Plans.

- Aren't the dimensions to the ROW?  Show dimensions

- If fence is not on ROW, then it becomes useless for creating privacy.  Show 4 ft fence.

- Can retaining walls  be noted.  Show the wall at the SE corner of the patio and dimension the walls.

- FG's are noted aren't they?  They are noted; however, this was not discussed in detail.  Alan said that they should be shown on the cross sections; however, referring to his comments on the cross section sheets, he does not reference FG's.  Conclusion is that although the FG's a shown, they are no "labeled".

- Aren't contours shown?  Alan said there was confusion here because they thought the pool was on grade and the contours didn't show up.  Contours as shown are probably OK.  Note in the elevations and sections that the pool is above ground.

- The outline of the lap pool is shown above the foundation.  See above in itm (f).

Landscape Plans

- Trees are identified on arborist report.  Alan wants the trees identified on the plans.  Can we add a table?

- Why do replacement trees have to be specified at this time.  We will replace according to requirements.  The commission would get confused otherwise.  Show the replacement trees.

- Hardscape can be shown as can darker outline of footprint. Show driveway and front deck and entry path.

Sections

- What is the building height?  Is it the height within the 27' envelope?  The building height is the height perpendicular to the grade.  The peak height must be shown.

- Aren't railings shown in adequate detail?  Try to clarify retaining walls and railings.

- "Grade before pad" is to explain the exception.  Alan doesn't want it.  It is not pertinent.