Questions for Alan

Project Site

- Address sign to be installed

- Trees have been tagged

- Story poles may not be possible.

Plans

- Lighter weight paper will be used for next submittal.

- What is the corrected creek setback.

Vicinity Map

- City Boundary layer will be turned off when printing aerial map

- No. of stories of adjacent properties is shown. Isn't this adequate?  Square footage will be acquired from county.

- Adjusted floor areas and FARs will be recalculated.

Site Plans

- What is the corrected creek setback?

- Aren't the dimensions to the ROW?

- If fence is not on ROW, then it becomes useless for creating privacy.

- Can retaining walls be noted?

- Can grading plan be reference for contours?

Site Plans

- What is the corrected creek setback.

- Aren't the dimensions to the ROW

- If fence is not on ROW, then it becomes useless for creating privacy.

- Can retaining walls  be noted

- FG's are noted aren't they?

- Aren't contours shown?

- The outline of the lap pool is shown above the foundation.

Landscape Plans

- Trees are identified on arborist report.

- Why do replacement trees have to be specified at this time.  We will replace according to requirements.

- Hardscape can be shown as can darker outline of footprint.

Sections

- What is the building height?  Is it the height within the 27' envelope?

- Aren't railings shown in adequate detail?

- "Grade before pad" is to explain the exception.